## Slide 1
Infraestrutura
de
Datacenter
COMPANY TIMELINE

## Slide 2
Requisitos
Infraestrutura local
  Espaço: Adequado para abrigar servidores, racks, e equipamentos de rede.
  Energia: UPS e geradores.
  Resfriamento: Arcondicionado split inverter.
  Segurança Física: Controle de acesso.
  Conectividade: Conexões de internet de alta velocidade.
  Equipamentos de Rede: Switche e roteador
Nuvem
  Espaço: Inexistente.
  Conectividade: Necessita de boa conectividade.
Colocation
  Espaço: Alugado de Datacenter de Terceiros medidos em U.
  Servidores: Enviados para o datacenter ocupando local alugado. Todo o ambiente é controlado pela empresa contratada.

## Slide 3
Comparação
Infraestrutura local
Nuvem
  Custo de implementação Baixo
  Custo variavel baseado no uso
  Disponibilidade facilitada
  Escalabilidade fácil
  Latência média/elevada
  Riscos
  Dependência de conectividade
  Serviço de terceiros indisponível.
Colocation
  Custo de implementação Alto
  Controle Total
  Latência baixa
  Escalabilidade Dificultada
  Riscos
  Dependência de energia e Climatização controladas.
  Interferências climaticas.
  Custo de implementação Médio
  Custos constantes
  Flexibilidade
  Escalabilidade média
  Latência baixa/média
  Riscos
  Dependência de terceiros.
  Interferências climaticas.

## Slide 4
Infraestrutura local
  Servidor de banco de dados pela DELL:
  Processador: AMD EPYC 9254 de 2,90 GHz.
  Memória: SSD de 960GB SATA RI 6Gbps 512 2.5“.
  - Amazenamento: SSD de 960GB SATA RI 6Gbps.
  Servidor de backup de banco de dados pela DELL:
  - Processador: AMD EPYC 9124 16 núcleos/32 threads.
  - Memória: RDIMM de 16 GB, 4.800 MT/s
  Amazenamento: SSD de 960GB SATA RI 6Gbps
  Servidor de aplicação DELL:
  Processador: Intel® Xeon® Silver 4416+ 2G, 20C/40T
  Memória : 2x 16GB RDIMM, 4800MT/s, Single Rank 16Gb Base x8
  - Amazenamento: 960GB SSD SATA Read Intensive 6Gbps
  3 Servidores de pequeno porte DELL:
  Processador: Intel® Xeon® E-2324G 3.1 GHz, 8M Cache, 4 núcleos/4 threads
  Memória :8GB DDR4 3200MHz (1X8GB, ECC, UDIMM, BCC)
  - Amazenamento:HD de 2TB SATA 6Gbps 7.2K 512n 3.5" Cabled.

## Slide 5
Infraestrutura Local
Links
  Servidor de banco de dados pela DELL:
  https://www.dell.com/pt-br/shop/cty/pdp/spd/poweredge-r7625/pe_r7625_15972_bcc_1?tfcid=31768715&gacd=9687031-14063-5761040-273175705-0&dgc=ST&gad_source=1&configurationid=fca6b943-0721-4416-ad4e-2f7d44e95a93
  Servidor de backup de banco de dados pela DELL:
  https://www.dell.com/pt-br/shop/cty/pdp/spd/poweredge-r7625/pe_r7625_15972_bcc_1?tfcid=31768715&gacd=9687031-14063-5761040-273175705-0&dgc=ST&gad_source=1&configurationid=96a1c86e-5f4f-4119-926b-95daff09a9af
  Servidor de aplicação DELL:
  https://www.dell.com/pt-br/shop/servidores-armazenamento-rede/servidor-rack-poweredge-r760xs/spd/poweredge-r760xs/pe_r760xs_16830_bcc_1?gacd=9687031-14063-5761040-273175705-0&dgc=ST&gad_source=1&configurationid=a1252161-e818-4eeb-9ff1-b9c7cc0ba3db
  3 Servidores de pequeno porte DELL:
  -https://www.dell.com/pt-br/shop/servidores-armazenamento-rede/servidor-rack-poweredge-r250/spd/poweredge-r250/pe_r250_15318_bcc_1?configurationid=d04c062e-bc99-4c8f-88f3-255ddf7a4061
  Sistema linux debian link:
  - https://www.debian.org/

## Slide 6
Infraestrutura Colocation
  Servidor de banco de dados pela DELL:
  Processador: AMD EPYC 9254 de 2,90 GHz.
  Memória: SSD de 960GB SATA RI 6Gbps 512 2.5“.
  - Amazenamento: SSD de 960GB SATA RI 6Gbps.
  Servidor de backup de banco de dados pela DELL:
  - Processador: AMD EPYC 9124 16 núcleos/32 threads.
  - Memória: RDIMM de 16 GB, 4.800 MT/s
  Amazenamento: SSD de 960GB SATA RI 6Gbps
  Servidor de aplicação DELL:
  Processador: Intel® Xeon® Silver 4416+ 2G, 20C/40T
  Memória : 2x 16GB RDIMM, 4800MT/s, Single Rank 16Gb Base x8
  - Amazenamento: 960GB SSD SATA Read Intensive 6Gbps
  3 Servidores de pequeno porte DELL:
  Processador: Intel® Xeon® E-2324G 3.1 GHz, 8M Cache, 4 núcleos/4 threads
  Memória :8GB DDR4 3200MHz (1X8GB, ECC, UDIMM, BCC)
  - Amazenamento:HD de 2TB SATA 6Gbps 7.2K 512n 3.5" Cabled.

## Slide 7
Infraestrutura Colocation
Links
  Servidor de banco de dados pela DELL:
  https://www.dell.com/pt-br/shop/cty/pdp/spd/poweredge-r7625/pe_r7625_15972_bcc_1?tfcid=31768715&gacd=9687031-14063-5761040-273175705-0&dgc=ST&gad_source=1&configurationid=fca6b943-0721-4416-ad4e-2f7d44e95a93
  Servidor de backup de banco de dados pela DELL:
  https://www.dell.com/pt-br/shop/cty/pdp/spd/poweredge-r7625/pe_r7625_15972_bcc_1?tfcid=31768715&gacd=9687031-14063-5761040-273175705-0&dgc=ST&gad_source=1&configurationid=96a1c86e-5f4f-4119-926b-95daff09a9af
  Servidor de aplicação DELL:
  https://www.dell.com/pt-br/shop/servidores-armazenamento-rede/servidor-rack-poweredge-r760xs/spd/poweredge-r760xs/pe_r760xs_16830_bcc_1?gacd=9687031-14063-5761040-273175705-0&dgc=ST&gad_source=1&configurationid=a1252161-e818-4eeb-9ff1-b9c7cc0ba3db
  3 Servidores de pequeno porte DELL:
  -https://www.dell.com/pt-br/shop/servidores-armazenamento-rede/servidor-rack-poweredge-r250/spd/poweredge-r250/pe_r250_15318_bcc_1?configurationid=d04c062e-bc99-4c8f-88f3-255ddf7a4061
  Sistema linux debian link:
  - https://www.debian.org/
  Serviço de Colocation:
  https://masterdaweb.com/colocation/

## Slide 8
Nuvem
Aws
Oracle
  Primeira Maquina – AMD, VM.Standart.E4.flex, 24 vCPUs, 40Gib de memoria, armazenamento de 700 Gb, Utilization 744 hours/month
  -> 297,59 USD
  Segunda Maquina – AMD, VM.Standart.E4.flex, 10 vCPUs, 16b de memoria, armazenamento de 700 Gb, Utilization 744 hours/month -> 140.61 USD
  Terceira Maquina – AMD, VM.Standart.E4.flex, 18 vCPUs, 25b de memoria, armazenamento de 300 Gb, Utilization 744 hours/month -> 208.05 USD Quarta Maquina - AMD, VM.Standart.E4.flex, 4 vCPUs, 8b de memoria, armazenamento de 150 Gb, Utilization 744 hours/month * 3-> 157.5 USD
Google
  Primeira Maquina – c6a.8xlarge, 32 vCPUs, 64Gib de memoria, desempenho da rede de 12500 Megabit e SSD gp2 -> 521.42 USD Segunda Maquina – c4.4xlarge, 16 vCPUs, 30 Gib de memoria, e 700 Gb de armazenamento -> 367.11 USD
  Terceira Maquina – c4.xlarge, 4 vCPUs, 7.5Gib de memoria, 60 Gb de armazenamento * 5 -> 402.30 USD Quarta Maquina - c6x.large, 4 vCPUs, 8 Gib de ram e 150 Gb de armazenamento * 3 -> 187.79 USD
  Primeira Maquina – Custom Machine, 24 vCPUs, 40Gib de memoria, 2x375 GB de armazenamento, instance - time 730 hours-> 1224,40 USD Segunda Maquina – Custom Machine, 10 vCPUs, 16Gib de memoria, 2x375 GB de armazenamento, instance - time 730 hours-> 557,05 USD
  Terceira Maquina – Custom Machine, 18 vCPUs, 25Gib de memoria, 1x375 GB de armazenamento, instance - time 730 hours-> 871,30 USD Quarta Maquina - Custom Machine, 4 vCPUs, 8 Gib de memoria, 1x375 GB de armazenamento, instance - time 2190 hours-> 1224,40 USD

## Slide 9
Alunos
- Lucas Souza Pereira – 01224070
- Pedro Henrique Félix da Fonseca - 01528288
- Ewerton Rosendo da Silva - 01510422
- Lidyce Amanda Gomes de Oliveira – 01550458
- Alanis Pereira da Silva - 01535211
Creditos

## Slide 10
Obrigado!

## Slide 11
Download this presentation as a
Google Slide template in 3 steps
Click on the "Canva" button next
to this presentation. Start editing your presentation. You may need
to sign in to your Canva account.
01
  Click on the "Share" button
  on the top right corner in
  Canva and click on "More"
  at the bottom of the menu.
02
Enter "Google Drive" in the search
bar and click on the Google Drive icon to add this design as a Google slide in your G Drive. It will ask you
to link your Google account to
Canva the first time.
03

## Slide 12
01 | Write an agenda here.
02 | Write an agenda here.
03 | Write an agenda here.
04 | Write an agenda here.
05 | Write an agenda here.
Add an Agenda Page

## Slide 13
01
02
03
04
Add a main point
  Elaborate on what
  you want to discuss.
Add a main point
  Elaborate on what
  you want to discuss.
Add a main point
  Elaborate on what
  you want to discuss.
Add a main point
  Elaborate on what
  you want to discuss.
Add a Timeline Page

## Slide 14
Add a main point
Add a main point
Add a main point
Add a main point
Add a main point
01
02
05
03
04
2015
2016
2018
2017
2019
  Elaborate on what
  you want to discuss.
  Elaborate on what
  you want to discuss.
  Elaborate on what
  you want to discuss.
  Elaborate on what
  you want to discuss.
  Elaborate on what
  you want to discuss.
Add a Timeline Page

## Slide 15
Add a main point
Add a main point
Add a main point
Add a main point
Add a main point
2015
2016
2017
2018
2019
  Elaborate on what
  you want to discuss.
  Elaborate on what
  you want to discuss.
  Elaborate on what
  you want to discuss.
  Elaborate on what
  you want to discuss.
  Elaborate on what
  you want to discuss.
Add a Timeline Page

## Slide 16
01
02
03
04
05
Add a main point
2015
2016
2017
2019
2018
Add a main point
Add a main point
Add a main point
Add a main point
  Elaborate on what you want to discuss.
  Elaborate on what you want to discuss.
  Elaborate on what you want to discuss.
  Elaborate on what you want to discuss.
  Elaborate on what you want to discuss.
Add a
Timeline
Page

## Slide 17
2016 | 2018 | 2020 | Present
Add a main point | Add a main point | Add a main point | Add a main point
Elaborate on what you want to discuss. | Elaborate on what you want to discuss. | Elaborate on what you want to discuss. | Elaborate on what you want to discuss.
Add a Timeline Page

## Slide 18
Add a main point
Add a main point
Add a main point
Add a main point
Add a main point
2015
2017
2019
2016
2018
01
03
02
04
05
  Elaborate on what
  you want to discuss.
  Elaborate on what
  you want to discuss.
  Elaborate on what
  you want to discuss.
  Elaborate on what
  you want to discuss.
  Elaborate on what
  you want to discuss.
Add a Timeline Page

## Slide 19
Add a main point
Add a main point
  Briefly elaborate on what
  you want to discuss.
Add a main point
  Briefly elaborate on what
  you want to discuss.
  Briefly elaborate on what
  you want to discuss.
Write your topic or idea

## Slide 20
Hello
there!
I'm Rain, and I'll be sharing with you my beautiful ideas.
Follow me at @reallygreatsite to learn more.

## Slide 21
Elaborate on what you want to discuss.
Write Your Topic or Idea

## Slide 22
Add a main point
  Elaborate on what you
  want to discuss.
Add a main point
  Elaborate on what you
  want to discuss.
Add a main point
  Elaborate on what you
  want to discuss.
Write Your Topic or Idea

## Slide 23
  Elaborate on what you
  want to discuss.
Add a main point
  Elaborate on what you
  want to discuss.
Add a main point
  Elaborate on what you
  want to discuss.
Add a main point
Write Your Topic or Idea

## Slide 24
Write a
Heading Here

## Slide 25
Write a caption for the photos.

## Slide 26
Write an original statement or
inspiring quote
Include a credit, citation, or
supporting message

## Slide 27
Add a Team Members Page
Name
  Title or Position
Name
  Title or Position
Name
  Title or Position
Name
  Title or Position
Elaborate on what you want to discuss.

## Slide 28
Add a Team Members Page
Elaborate on what you want to discuss.
Name
Name
Name
Name
  Title or Position
  Title or Position
  Title or Position
  Title or Position

## Slide 29
02
Add a
Section Header

## Slide 30
Write Your Big Topic or Idea
Elaborate on what you want to discuss.

## Slide 31
Write Your
Topic or Idea

## Slide 32
Elaborate on the featured statistic.
123,456,789

## Slide 33
75%
Elaborate on the
featured statistic.
12 million
Elaborate on the
featured statistic.
Elaborate on the
featured statistic.
2 out of 5

## Slide 34
This presentation template uses the following free fonts:
Titles: Agrandir Wide Thin
Headers: Agrandir Wide Thin
Body Copy: DM Sans
You can find these fonts online too. Happy designing!
Fonts In this Presentation

## Slide 35
S
O
W
T
STRENGTHS
OPPORTUNITIES
WEAKNESSES
THREATS
STRENGTHS | What are you doing well? What sets you apart? What are your good qualities?
WEAKNESSES | Where do you need to improve? Are resources adequate? What do others do better than you?
OPPORTUNITIES | What are your goals? Are demands shifting? How can it be improved?
THREATS | What are the blockers you're facing? What are factors outside of your control?

## Slide 36
Elaborate on what you want to discuss.
Write Your Topic or Idea

## Slide 37
Elaborate on what you want to discuss.
Add a Chart Page
Name
Name
Name
Name
Name
Name
Name
Job Title
Job Title
Job Title
Job Title
Job Title
Job Title
Job Title

## Slide 38
Resource
Page
Use these design resources in your Canva Presentation. Happy designing!
Don't forget to delete this page before presenting.

## Slide 39
Resource
Page
Use these design resources in your Canva Presentation. Happy designing!
Don't forget to delete this page before presenting.

## Slide 40
Free templates for all
your presentation needs
100% free for personal or commercial use
Ready to use, professional,
and customizable
Blow your audience away with
attractive visuals
For PowerPoint, Google Slides,
and Canva
FREE